## Specs
|  |  | rdim | cdim | dim | values
set | T | SET!D4:AA4 |  | 1
par | i | TECH!B7 |  |  | 0
par | NumberOfDays | TECH!E7 |  |  | 0
par | SL | TECH!B17 |  |  | 0
par | WL | TECH!E17 |  |  | 0
par | BL | TECH!H17 |  |  | 0
par | IL | TECH!K17 |  |  | 0
par | RL | TECH!N17 |  |  | 0
par | EVL | TECH!Q17 |  |  | 0
par | BEVL | TECH!T17 |  |  | 0
par | MaximumArea | TECH!H7 |  |  | 0
par | MaximumGridSupply | TECH!Q7 |  |  | 0
par | EVUnit | TECH!B27 |  |  | 0
par | EVUnitCommercial | TECH!E27 |  |  | 0
par | EVUnitIndustrial | TECH!H27 |  |  | 0
par | BatteryCapacity | TECH!B37 |  |  | 0
par | WindTurbineCapacity | TECH!E37 |  |  | 0
par | EVStorageCapacity | TECH!H37 |  |  | 0
par | EVChargingCapacityResidential | TECH!B47 |  |  | 0
par | EVChargingCapacityCommercial | TECH!E47 |  |  | 0
par | EVChargingCapacityIndustrial | TECH!H47 |  |  | 0
par | EVDischargingCapacityV2G | TECH!K47 |  |  | 0
par | SolarAreaDensity | TECH!K7 |  |  | 0
par | WindAreaDensity | TECH!N7 |  |  | 0
par | V2GAllow | TECH!N47 |  |  | 0
par | VRETarget | TECH!T7 |  |  | 0
par | SolarIrradiance | VRE!C7:D30 | 1
par | CapacityFactorWind | VRE!H7:I30 | 1
par | ResidentialDemand | DEMAND!C7:D30 | 1
par | CommercialDemand | DEMAND!H7:I30 | 1
par | IndustrialDemand | DEMAND!M7:N30 | 1
par | TravelDemand | DEMAND!R7:S30 | 1
par | SolarEfficiency | EFFICIENCY!B7 |  |  | 0
par | InverterEfficiency | EFFICIENCY!E7 |  |  | 0
par | RectifierEfficiency | EFFICIENCY!H7 |  |  | 0
par | ChargeEfficiency | EFFICIENCY!K7 |  |  | 0
par | DischargeEfficiency | EFFICIENCY!N7 |  |  | 0
par | EVChargeEfficiency | EFFICIENCY!B17 |  |  | 0
par | EVDischargeEfficiency | EFFICIENCY!E17 |  |  | 0
par | EVInverterEfficiency | EFFICIENCY!H17 |  |  | 0
par | EVTravelEfficiency | EFFICIENCY!K17 |  |  | 0
par | DischargeDepth | EFFICIENCY!B27 |  |  | 0
par | EVDischargeDepth | EFFICIENCY!E27 |  |  | 0
par | EVMinBatteryLevel | EFFICIENCY!H27 |  |  | 0
par | BinaryEVRequirementResidential | BINARY!C7:D30 | 1
par | BinaryEVRequirementCommercial | BINARY!H7:I30 | 1
par | BinaryEVRequirementIndustrial | BINARY!M7:N30 | 1
par | BinaryEVConsumption | BINARY!R7:S30 | 1
par | BinaryV2GConsumption | BINARY!W7:X30 | 1
par | BinaryBatteryStorageCharge | BINARY!AB7:AC30 | 1
par | BinaryBatteryStorageDischarge | BINARY!AG7:AH30 | 1
par | SolarInvestmentCost | COST!B7 |  |  | 0
par | WindInvestmentCost | COST!E7 |  |  | 0
par | InverterInvestmentCost | COST!H7 |  |  | 0
par | RectifierInvestmentCost | COST!K7 |  |  | 0
par | BatteryEnergyInvestmentCost | COST!N7 |  |  | 0
par | BatteryPowerInvestmentCost | COST!Q7 |  |  | 0
par | EVInvestmentCost | COST!B17 |  |  | 0
par | EVBatteryCost | COST!E17 |  |  | 0
par | EVMaintenanceCost | COST!H17 |  |  | 0
par | SolarOperatingCost | COST!K17 |  |  | 0
par | WindOperatingCost | COST!N17 |  |  | 0
par | BatteryPowerOperatingCost | COST!Q17 |  |  | 0
par | LandCost | COST!B27 |  |  | 0
par | ElectricityTariffResidential | COST!B37:C60 | 1
par | ElectricityTariffCommercial | COST!E37:F60 | 1
par | ElectricityTariffIndustrial | COST!H37:I60 | 1
par | V2GTariffCommercial | COST!K37:L60 | 1
par | V2GTariffIndustrial | COST!N37:O60 | 1

## SET
Return
Name | Description | Value
T | Hour | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23

## TECH
Return
Parameter | i | NumberOfDays | MaximumArea | SolarAreaDensity | WindAreaDensity | MaximumGridSupply | VRETarget
Description | Interest rate | Number of days of the clustered hours | Maximum area of microgrid installation | Area density - Solar PV | Area density - Wind turbine | Maximum grid electricity supply | VRE target for power demand only (excluding EV) - put 0 for EV unit demand when using this target
Unit | - | - | m2 | kW/m2 | kW/m2 | kWh | -
Value | 0.03 | 365 | 100000000 | 0.08 | 0.07563 | 1000000000000 | 0
Parameter | SL | WL | BL | IL | RL | EVL | BEVL
Description | Lifetime - Solar PV | Lifetime - Wind turbine | Lifetime - Battery energy storage | Lifetime - Inverter | Lifetime - Rectifier | Lifetime - Electric vehicle | Lifetime - Electric vehicle battery
Unit | year | year | year | year | year | year | year
Value | 20 | 20 | 12 | 10 | 10 | 10 | 10
Parameter | EVUnit | EVUnitCommercial | EVUnitIndustrial
Description | Number of EV Unit | Fraction of EV in commercial workplace | Fraction of EV in industrial workplace
Unit | - | - | -
Value | 100 | 0.5 | 0.5
Parameter | BatteryCapacity | WindTurbineCapacity | EVStorageCapacity
Description | Capacity - Battery energy storage | Capacity - Wind turbine | Capacity - Electric vehicle battery
Unit | kWh | kWh | kWh
Value | 10 | 10 | 43
Parameter | EVChargingCapacityResidential | EVChargingCapacityCommercial | EVChargingCapacityIndustrial | EVDischargingCapacityV2G | V2GAllow
Description | Capacity - EV charging at residential area | Capacity - EV charging at commercial area | Capacity - EV charging at industrial area | Capacity - EV discharging for vehicle-to-grid | V2G - 1 if allowed, 0 if not allowed
Unit | kW | kW | kW | kW | -
Value | 3.3 | 0 | 0 | 10 | 1

## EFFICIENCY
Return
Parameter | SolarEfficiency | InverterEfficiency | RectifierEfficiency | ChargeEfficiency | DischargeEfficiency
Description | Efficiency - Solar PV | Efficiency - Inverter | Efficiency - Rectifier | Efficiency - Charging (battery) | Efficiency - Discharging (battery)
Unit | - | - | -
Value | 0.18 | 0.96 | 0.92 | 0.94 | 0.94
Parameter | EVChargeEfficiency | EVDischargeEfficiency | EVInverterEfficiency | EVTravelEfficiency
Description | Efficiency - Charging (EV) | Efficiency - Discharging (EV) | Efficiency - Inverter for V2G | Efficiency - distance travel per energy use by electric vehicle
Unit | - | - | - | km/kWh
Value | 0.9 | 0.9 | 0.96 | 4.7
Parameter | DischargeDepth | EVDischargeDepth | EVMinBatteryLevel
Description | Depth of discharge (battery energy storage) | Depth of discharge (EV) | Minimum battery level (electric vehicle)
Unit | - | - | -
Value | 0.8 | 1 | 0.2

## COST
Return
Parameter | SolarInvestmentCost |  | WindInvestmentCost |  | InverterInvestmentCost |  | RectifierInvestmentCost |  | BatteryEnergyInvestmentCost |  | BatteryPowerInvestmentCost
Description | Investment cost - Solar PV |  | Investment cost - Wind turbine |  | Investment cost - Inverter |  | Investment cost - Rectifier |  | Investment cost - Battery-Energy |  | Investment cost - Battery-Power
Unit | USD/kW |  | USD/kW |  | USD/kW |  | USD/kW |  | USD/kWh |  | USD/kW
Value | 1500 |  | 1800 |  | 60 |  | 8 |  | 380 |  | 360
Parameter | EVInvestmentCost |  | EVBatteryCost |  | EVMaintenanceCost |  | SolarOperatingCost |  | WindOperatingCost |  | BatteryPowerOperatingCost
Description | Investment cost - EV |  | Investment cost - EV battery
Unit | USD/unit EV |  | USD/unit EV |  | USD/unit EV/year |  | USD/kW/year |  | USD/kW/year |  | USD/kW/year
Value | 40000 |  | 5000 |  | 500 |  | 15 |  | 40 |  | 10
Parameter | LandCost
Description | land cost - solar pv and wind turbine
Unit | USD/m2
Value | 0
Parameter | ElectricityTariffResidential(T) |  | ElectricityTariffCommercial(T) |  | ElectricityTariffIndustrial(T) |  | V2GTariffCommercial(T) |  | V2GTariffIndustrial(T)
Description | Tariff - Electricity (Residential) |  | Tariff - Electricity (Commercial) |  | Tariff - Electricity (Industrial) |  | V2G Tariff - Electricity (Commercial) |  | V2G Tariff - Electricity (Industrial)
Unit | USD/kWh |  | USD/kWh |  | USD/kWh |  | USD/kWh |  | USD/kWh
Value | 0 | 0.098 | 0 | 0.078 | 0 | 0.078 | 0 | 0 | 0 | 0
| 1 | 0.098 | 1 | 0.078 | 1 | 0.078 | 1 | 0 | 1 | 0
| 2 | 0.098 | 2 | 0.078 | 2 | 0.078 | 2 | 0 | 2 | 0
| 3 | 0.098 | 3 | 0.078 | 3 | 0.078 | 3 | 0 | 3 | 0
| 4 | 0.098 | 4 | 0.078 | 4 | 0.078 | 4 | 0 | 4 | 0
| 5 | 0.098 | 5 | 0.078 | 5 | 0.078 | 5 | 0 | 5 | 0
| 6 | 0.098 | 6 | 0.078 | 6 | 0.078 | 6 | 0 | 6 | 0
| 7 | 0.098 | 7 | 0.078 | 7 | 0.078 | 7 | 0 | 7 | 0
| 8 | 0.098 | 8 | 0.078 | 8 | 0.078 | 8 | 0.078 | 8 | 0.078
| 9 | 0.098 | 9 | 0.12 | 9 | 0.12 | 9 | 0.12 | 9 | 0.12
| 10 | 0.098 | 10 | 0.12 | 10 | 0.12 | 10 | 0.12 | 10 | 0.12
| 11 | 0.098 | 11 | 0.12 | 11 | 0.12 | 11 | 0.12 | 11 | 0.12
| 12 | 0.098 | 12 | 0.12 | 12 | 0.12 | 12 | 0.12 | 12 | 0.12
| 13 | 0.098 | 13 | 0.12 | 13 | 0.12 | 13 | 0.12 | 13 | 0.12
| 14 | 0.098 | 14 | 0.12 | 14 | 0.12 | 14 | 0.12 | 14 | 0.12
| 15 | 0.098 | 15 | 0.12 | 15 | 0.12 | 15 | 0.12 | 15 | 0.12
| 16 | 0.098 | 16 | 0.12 | 16 | 0.12 | 16 | 0.12 | 16 | 0.12
| 17 | 0.098 | 17 | 0.12 | 17 | 0.12 | 17 | 0 | 17 | 0
| 18 | 0.098 | 18 | 0.12 | 18 | 0.12 | 18 | 0 | 18 | 0
| 19 | 0.098 | 19 | 0.12 | 19 | 0.12 | 19 | 0 | 19 | 0
| 20 | 0.098 | 20 | 0.12 | 20 | 0.12 | 20 | 0 | 20 | 0
| 21 | 0.098 | 21 | 0.12 | 21 | 0.12 | 21 | 0 | 21 | 0
| 22 | 0.098 | 22 | 0.078 | 22 | 0.078 | 22 | 0 | 22 | 0
| 23 | 0.098 | 23 | 0.078 | 23 | 0.078 | 23 | 0 | 23 | 0

## VRE
Return
Description |  | Solar irradiance |  |  | Capacity factor - Wind turbine
Parameter |  | SolarIrradiance(T) |  |  | CapacityFactorWind(T)
Unit |  | kW/m2 |  |  | -
Value
| 0 | 0 |  | 0 | 0.16243
| 1 | 0 |  | 1 | 0.15204
| 2 | 0 |  | 2 | 0.14368
| 3 | 0 |  | 3 | 0.13896
| 4 | 0 |  | 4 | 0.13534
| 5 | 2.6548e-05 | 2.6548e-05 | 5 | 0.13413
| 6 | 0.023808 | 0.023808 | 6 | 0.12688
| 7 | 0.1499 | 0.1499 | 7 | 0.11152
| 8 | 0.32586 | 0.32586 | 8 | 0.16033
| 9 | 0.49264 | 0.49264 | 9 | 0.17715
| 10 | 0.6176 | 0.6176 | 10 | 0.16226
| 11 | 0.69779 | 0.69779 | 11 | 0.14324
| 12 | 0.7135 | 0.7135 | 12 | 0.12915
| 13 | 0.65954 | 0.65954 | 13 | 0.12025
| 14 | 0.55352 | 0.55352 | 14 | 0.11478
| 15 | 0.40566 | 0.40566 | 15 | 0.11151
| 16 | 0.2386 | 0.2386 | 16 | 0.10851
| 17 | 0.08459 | 0.08459 | 17 | 0.10717
| 18 | 0.0058066 | 0.0058066 | 18 | 0.13419
| 19 | 0 |  | 19 | 0.16997
| 20 | 0 |  | 20 | 0.18795
| 21 | 0 |  | 21 | 0.18922
| 22 | 0 |  | 22 | 0.18187
| 23 | 0 |  | 23 | 0.17201

## BINARY
Return
Description |  | Binary parameter - EV charging occurence (residential) |  | Binary parameter - EV charging occurence (commercial) |  | Binary parameter - EV charging occurence (industrial) |  | Binary parameter - Occurence of EV discharging for traveling |  | Binary parameter - Occurence of EV discharging for V2G |  | Binary parameter - Battery charging occurence |  | Binary parameter - Battery discharging occurence
Parameter |  | BinaryEVRequirementResidential(T) |  | BinaryEVRequirementCommercial(T) |  | BinaryEVRequirementIndustrial(T) |  | BinaryEVConsumption(T) |  | BinaryV2GConsumption(T) |  | BinaryBatteryStorageCharge(T) |  | BinaryBatteryStorageDischarge(T)
Unit |  | - |  | -
Value
| 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1
| 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1
| 2 | 1 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 1 | 2 | 1 | 2 | 1
| 3 | 1 | 3 | 0 | 3 | 0 | 3 | 0 | 3 | 1 | 3 | 1 | 3 | 1
| 4 | 1 | 4 | 0 | 4 | 0 | 4 | 0 | 4 | 1 | 4 | 1 | 4 | 1
| 5 | 1 | 5 | 0 | 5 | 0 | 5 | 0 | 5 | 1 | 5 | 1 | 5 | 1
| 6 | 1 | 6 | 0 | 6 | 0 | 6 | 0 | 6 | 1 | 6 | 1 | 6 | 1
| 7 | 0 | 7 | 0 | 7 | 0 | 7 | 1 | 7 | 1 | 7 | 1 | 7 | 1
| 8 | 0 | 8 | 1 | 8 | 1 | 8 | 0 | 8 | 1 | 8 | 1 | 8 | 0
| 9 | 0 | 9 | 1 | 9 | 1 | 9 | 0 | 9 | 1 | 9 | 1 | 9 | 0
| 10 | 0 | 10 | 1 | 10 | 1 | 10 | 0 | 10 | 1 | 10 | 1 | 10 | 0
| 11 | 0 | 11 | 1 | 11 | 1 | 11 | 0 | 11 | 1 | 11 | 1 | 11 | 0
| 12 | 0 | 12 | 1 | 12 | 1 | 12 | 0 | 12 | 1 | 12 | 1 | 12 | 0
| 13 | 0 | 13 | 1 | 13 | 1 | 13 | 0 | 13 | 1 | 13 | 1 | 13 | 0
| 14 | 0 | 14 | 1 | 14 | 1 | 14 | 0 | 14 | 1 | 14 | 1 | 14 | 0
| 15 | 0 | 15 | 1 | 15 | 1 | 15 | 0 | 15 | 1 | 15 | 1 | 15 | 0
| 16 | 0 | 16 | 1 | 16 | 1 | 16 | 0 | 16 | 1 | 16 | 1 | 16 | 0
| 17 | 0 | 17 | 0 | 17 | 0 | 17 | 1 | 17 | 1 | 17 | 1 | 17 | 1
| 18 | 1 | 18 | 0 | 18 | 0 | 18 | 0 | 18 | 1 | 18 | 1 | 18 | 1
| 19 | 1 | 19 | 0 | 19 | 0 | 19 | 0 | 19 | 1 | 19 | 1 | 19 | 1
| 20 | 1 | 20 | 0 | 20 | 0 | 20 | 0 | 20 | 1 | 20 | 1 | 20 | 1
| 21 | 1 | 21 | 0 | 21 | 0 | 21 | 0 | 21 | 1 | 21 | 1 | 21 | 1
| 22 | 1 | 22 | 0 | 22 | 0 | 22 | 0 | 22 | 1 | 22 | 1 | 22 | 1
| 23 | 1 | 23 | 0 | 23 | 0 | 23 | 0 | 23 | 1 | 23 | 1 | 23 | 1

## DEMAND
Return
Description |  | Electricity demand - residential |  | Electricity demand - commercial |  | Electricity demand - industrial |  | Electric vehicle travel demand
Parameter |  | ResidentialDemand(T) |  | CommercialDemand(T) |  | IndustrialDemand(T) |  | TravelDemand(T)
Unit |  | kWh |  | kWh |  | kWh |  | km
Value
| 0 | 74 | 0 | 52 | 0 | 117 | 0 | 0
| 1 | 66 | 1 | 51 | 1 | 117 | 1 | 0
| 2 | 61 | 2 | 49 | 2 | 117 | 2 | 0
| 3 | 58 | 3 | 49 | 3 | 117 | 3 | 0
| 4 | 55 | 4 | 49 | 4 | 117 | 4 | 0
| 5 | 54 | 5 | 50 | 5 | 117 | 5 | 0
| 6 | 52 | 6 | 51 | 6 | 117 | 6 | 0
| 7 | 49 | 7 | 57 | 7 | 117 | 7 | 25
| 8 | 49 | 8 | 65 | 8 | 117 | 8 | 0
| 9 | 50 | 9 | 70 | 9 | 117 | 9 | 0
| 10 | 50 | 10 | 74 | 10 | 117 | 10 | 0
| 11 | 51 | 11 | 74 | 11 | 117 | 11 | 0
| 12 | 50 | 12 | 73 | 12 | 117 | 12 | 0
| 13 | 52 | 13 | 74 | 13 | 117 | 13 | 0
| 14 | 53 | 14 | 75 | 14 | 117 | 14 | 0
| 15 | 53 | 15 | 75 | 15 | 117 | 15 | 0
| 16 | 53 | 16 | 75 | 16 | 117 | 16 | 0
| 17 | 50 | 17 | 72 | 17 | 117 | 17 | 25
| 18 | 55 | 18 | 67 | 18 | 117 | 18 | 0
| 19 | 69 | 19 | 62 | 19 | 117 | 19 | 0
| 20 | 81 | 20 | 60 | 20 | 117 | 20 | 0
| 21 | 85 | 21 | 57 | 21 | 117 | 21 | 0
| 22 | 85 | 22 | 55 | 22 | 117 | 22 | 0
| 23 | 81 | 23 | 56 | 23 | 117 | 23 | 0