## Output
|  |  | rdim | cdim | dim | values
par | Report_SystemCost | 1_Main!A2:B2 | 1
par | Report_NetSystemCost | 1_Main!A3:B3 | 1
par | Report_RevenueV2G | 1_Main!A4:B4 | 1
par | Report_AverageElectricityCost | 1_Main!A5:B5 | 1
par | Report_MicrogridArea | 1_Main!A7:B7 | 1
par | Report_MicrogridAreaSolar | 1_Main!A8:B8 | 1
par | Report_MicrogridAreaWind | 1_Main!A9:B9 | 1
par | Report_MicrogridAreaResidential | 1_Main!A10:B10 | 1
par | Report_MicrogridAreaCommercial | 1_Main!A11:B11 | 1
par | Report_MicrogridAreaIndustrial | 1_Main!A12:B12 | 1
par | Report_SolarCapacity | 1_Main!A14:B14 | 1
par | Report_WindCapacity | 1_Main!A15:B15 | 1
par | Report_InverterCapacity | 1_Main!A16:B16 | 1
par | Report_RectifierCapacity | 1_Main!A17:B17 | 1
par | Report_BatteryCapacity | 1_Main!A18:B18 | 1
par | Report_EVBatteryCapacity | 1_Main!A19:B19 | 1
par | Report_CostDistribution | 2_CostDistribution!A2 | 1
par | Report_AverageElectricityCostDistribution | 2_CostDistribution!D2 | 1
par | Report_LoadResidential | 3_LoadProfile!A2 | 1 | 1
par | Report_LoadCommercial | 3_LoadProfile!J2 | 1 | 1
par | Report_LoadIndustrial | 3_LoadProfile!S2 | 1 | 1
par | Report_LoadTotal | 3_LoadProfile!AB2 | 1 | 1
par | Report_EVCharging_Grid | 4_EVCharging!A2 | 1
par | Report_EVCharging_VRE | 4_EVCharging!D2 | 1
par | Report_EVSOC | 4_EVCharging!G2 | 1
par | Report_EVDischarging_Travel | 4_EVCharging!J2 | 1
par | Report_EVDischarging_V2G | 4_EVCharging!M2 | 1

## 1_Main
Return
System Cost (USD/year) | 830920.4739
Net System Cost (USD/year) | 830920.4739
Revenue - V2G (USD/year) | 0
Average Electricity Cost (USD/kWh) | 0.10209
Total Microgrid Area (m2) | 0
Microgrid Area - Solar (m2) | 0
Microgrid Area - Wind (m2) | 0
Microgrid Area - Residential (m2) | 0
Microgrid Area - Commercial (m2) | 0
Microgrid Area - Industrial (m2) | 0
Total Capacity - Solar PV (kW) | 0
Total Capacity - Wind Turbine (kW) | 0
Total Capacity - Inverter (kW) | 0
Total Capacity - Rectifier (kW) | 0
Total Capacity - EV Battery (kWh) | 4300
VRE Mix - Power Sector [%] | 0
VRE Mix - EV Charging [%] | 0

## 2_CostDistribution
Return | System Cost (USD/year) |  | Average Electricity Cost (USD/kWh)
CAPEX (Solar PV) | 0 | CAPEX (Solar PV) | 0
CAPEX (Wind Turbine) | 0 | CAPEX (Wind Turbine) | 0
CAPEX (Inverter) | 0 | CAPEX (Inverter) | 0
CAPEX (Rectifier) | 0 | CAPEX (Rectifier) | 0
CAPEX (Battery-Energy) | 0 | CAPEX (Battery-Energy) | 0
CAPEX (Battery-Power) | 0 | CAPEX (Battery-Power) | 0
CAPEX (Land) | 0 | CAPEX (Land) | 0
CAPEX (EV) | 468922.0264 | OPEX (Solar PV) | 0
CAPEX (EV Battery) | 58615.2533 | OPEX (Wind Turbine) | 0
OPEX (Solar PV) | 0 | OPEX (Battery-Power) | 0
OPEX (Wind Turbine) | 0 | Grid Electricity Cost | 0.10209
OPEX (Battery-Power) | 0 | Revenue (V2G) | 0
OPEX (EV) | 50000
Grid Electricity Cost | 253383.1942
Revenue (V2G) | 0

## 3_LoadProfile
Return | Load - Residential (kWh) | [6 empty] | Load - Commercial (kWh) | [6 empty] | Load - Industrial (kWh) | [6 empty] | Load - Total (kWh)
| Grid Electricity | Solar PV | Wind Turbine | V2G | Battery-Solar | Battery-Wind |  | Grid Electricity | Solar PV | Wind Turbine | V2G | Battery-Solar | Battery-Wind |  | Grid Electricity | Solar PV | Wind Turbine | V2G | Battery-Solar | Battery-Wind |  | Grid Electricity | Solar PV | Wind Turbine | V2G | Battery-Solar | Battery-Wind
0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 243 | 0 | 0 | 0 | 0 | 0
1 | 66 | 0 | 0 | 0 | 0 | 0 | 1 | 51 | 0 | 0 | 0 | 0 | 0 | 1 | 117 | 0 | 0 | 0 | 0 | 0 | 1 | 234 | 0 | 0 | 0 | 0 | 0
2 | 61 | 0 | 0 | 0 | 0 | 0 | 2 | 49 | 0 | 0 | 0 | 0 | 0 | 2 | 117 | 0 | 0 | 0 | 0 | 0 | 2 | 227 | 0 | 0 | 0 | 0 | 0
3 | 58 | 0 | 0 | 0 | 0 | 0 | 3 | 49 | 0 | 0 | 0 | 0 | 0 | 3 | 117 | 0 | 0 | 0 | 0 | 0 | 3 | 224 | 0 | 0 | 0 | 0 | 0
4 | 55 | 0 | 0 | 0 | 0 | 0 | 4 | 49 | 0 | 0 | 0 | 0 | 0 | 4 | 117 | 0 | 0 | 0 | 0 | 0 | 4 | 221 | 0 | 0 | 0 | 0 | 0
5 | 54 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 0 | 0 | 0 | 0 | 0 | 5 | 117 | 0 | 0 | 0 | 0 | 0 | 5 | 221 | 0 | 0 | 0 | 0 | 0
6 | 52 | 0 | 0 | 0 | 0 | 0 | 6 | 51 | 0 | 0 | 0 | 0 | 0 | 6 | 117 | 0 | 0 | 0 | 0 | 0 | 6 | 220 | 0 | 0 | 0 | 0 | 0
7 | 49 | 0 | 0 | 0 | 0 | 0 | 7 | 57 | 0 | 0 | 0 | 0 | 0 | 7 | 117 | 0 | 0 | 0 | 0 | 0 | 7 | 223 | 0 | 0 | 0 | 0 | 0
8 | 49 | 0 | 0 | 0 | 0 | 0 | 8 | 65 | 0 | 0 | 0 | 0 | 0 | 8 | 117 | 0 | 0 | 0 | 0 | 0 | 8 | 231 | 0 | 0 | 0 | 0 | 0
9 | 50 | 0 | 0 | 0 | 0 | 0 | 9 | 70 | 0 | 0 | 0 | 0 | 0 | 9 | 117 | 0 | 0 | 0 | 0 | 0 | 9 | 237 | 0 | 0 | 0 | 0 | 0
10 | 50 | 0 | 0 | 0 | 0 | 0 | 10 | 74 | 0 | 0 | 0 | 0 | 0 | 10 | 117 | 0 | 0 | 0 | 0 | 0 | 10 | 241 | 0 | 0 | 0 | 0 | 0
11 | 51 | 0 | 0 | 0 | 0 | 0 | 11 | 74 | 0 | 0 | 0 | 0 | 0 | 11 | 117 | 0 | 0 | 0 | 0 | 0 | 11 | 242 | 0 | 0 | 0 | 0 | 0
12 | 50 | 0 | 0 | 0 | 0 | 0 | 12 | 73 | 0 | 0 | 0 | 0 | 0 | 12 | 117 | 0 | 0 | 0 | 0 | 0 | 12 | 240 | 0 | 0 | 0 | 0 | 0
13 | 52 | 0 | 0 | 0 | 0 | 0 | 13 | 74 | 0 | 0 | 0 | 0 | 0 | 13 | 117 | 0 | 0 | 0 | 0 | 0 | 13 | 243 | 0 | 0 | 0 | 0 | 0
14 | 53 | 0 | 0 | 0 | 0 | 0 | 14 | 75 | 0 | 0 | 0 | 0 | 0 | 14 | 117 | 0 | 0 | 0 | 0 | 0 | 14 | 245 | 0 | 0 | 0 | 0 | 0
15 | 53 | 0 | 0 | 0 | 0 | 0 | 15 | 75 | 0 | 0 | 0 | 0 | 0 | 15 | 117 | 0 | 0 | 0 | 0 | 0 | 15 | 245 | 0 | 0 | 0 | 0 | 0
16 | 53 | 0 | 0 | 0 | 0 | 0 | 16 | 75 | 0 | 0 | 0 | 0 | 0 | 16 | 117 | 0 | 0 | 0 | 0 | 0 | 16 | 245 | 0 | 0 | 0 | 0 | 0
17 | 50 | 0 | 0 | 0 | 0 | 0 | 17 | 72 | 0 | 0 | 0 | 0 | 0 | 17 | 117 | 0 | 0 | 0 | 0 | 0 | 17 | 239 | 0 | 0 | 0 | 0 | 0
18 | 55 | 0 | 0 | 0 | 0 | 0 | 18 | 67 | 0 | 0 | 0 | 0 | 0 | 18 | 117 | 0 | 0 | 0 | 0 | 0 | 18 | 239 | 0 | 0 | 0 | 0 | 0
19 | 69 | 0 | 0 | 0 | 0 | 0 | 19 | 62 | 0 | 0 | 0 | 0 | 0 | 19 | 117 | 0 | 0 | 0 | 0 | 0 | 19 | 248 | 0 | 0 | 0 | 0 | 0
20 | 81 | 0 | 0 | 0 | 0 | 0 | 20 | 60 | 0 | 0 | 0 | 0 | 0 | 20 | 117 | 0 | 0 | 0 | 0 | 0 | 20 | 258 | 0 | 0 | 0 | 0 | 0
21 | 85 | 0 | 0 | 0 | 0 | 0 | 21 | 57 | 0 | 0 | 0 | 0 | 0 | 21 | 117 | 0 | 0 | 0 | 0 | 0 | 21 | 259 | 0 | 0 | 0 | 0 | 0
22 | 85 | 0 | 0 | 0 | 0 | 0 | 22 | 55 | 0 | 0 | 0 | 0 | 0 | 22 | 117 | 0 | 0 | 0 | 0 | 0 | 22 | 257 | 0 | 0 | 0 | 0 | 0
23 | 81 | 0 | 0 | 0 | 0 | 0 | 23 | 56 | 0 | 0 | 0 | 0 | 0 | 23 | 117 | 0 | 0 | 0 | 0 | 0 | 23 | 254 | 0 | 0 | 0 | 0 | 0

## 4_EVCharging
Return | EV Charging - Grid (kWh) |  | EV Charging - VRE (kWh) |  | EV State-Of-Charging (kWh) |  | EV Discharging-Travel (kWh) |  | EV Discharging-V2G(kWh)
0 | 0.0602 | 0 | 0 | 0 | 3235.0608 | 0 | 0 | 0 | 0
1 | 0.0602 | 1 | 0 | 1 | 3235.0608 | 1 | 0 | 1 | 0
2 | 0.0602 | 2 | 0 | 2 | 3235.0608 | 2 | 0 | 2 | 0
3 | 75.2651 | 3 | 0 | 3 | 3235.0608 | 3 | 0 | 3 | 0
4 | 330 | 4 | 0 | 4 | 3310.2657 | 4 | 0 | 4 | 0
5 | 330 | 5 | 0 | 5 | 3640.2002 | 5 | 0 | 5 | 0
6 | 330 | 6 | 0 | 6 | 3970.1117 | 6 | 0 | 6 | 0
7 | 0 | 7 | 0 | 7 | 4300 | 7 | 531.9149 | 7 | 0
8 | 0 | 8 | 0 | 8 | 3767.9504 | 8 | 0 | 8 | 0
9 | 0 | 9 | 0 | 9 | 3767.8529 | 9 | 0 | 9 | 0
10 | 0 | 10 | 0 | 10 | 3767.7554 | 10 | 0 | 10 | 0
11 | 0 | 11 | 0 | 11 | 3767.6579 | 11 | 0 | 11 | 0
12 | 0 | 12 | 0 | 12 | 3767.5604 | 12 | 0 | 12 | 0
13 | 0 | 13 | 0 | 13 | 3767.4629 | 13 | 0 | 13 | 0
14 | 0 | 14 | 0 | 14 | 3767.3654 | 14 | 0 | 14 | 0
15 | 0 | 15 | 0 | 15 | 3767.268 | 15 | 0 | 15 | 0
16 | 0 | 16 | 0 | 16 | 3767.1705 | 16 | 0 | 16 | 0
17 | 0 | 17 | 0 | 17 | 3767.0731 | 17 | 531.9149 | 17 | 0
18 | 0.0602 | 18 | 0 | 18 | 3235.0608 | 18 | 0 | 18 | 0
19 | 0.0602 | 19 | 0 | 19 | 3235.0608 | 19 | 0 | 19 | 0
20 | 0.0602 | 20 | 0 | 20 | 3235.0608 | 20 | 0 | 20 | 0
21 | 0.0602 | 21 | 0 | 21 | 3235.0608 | 21 | 0 | 21 | 0
22 | 0.0602 | 22 | 0 | 22 | 3235.0608 | 22 | 0 | 22 | 0
23 | 0.0602 | 23 | 0 | 23 | 3235.0608 | 23 | 0 | 23 | 0